Технические характеристики

| Минимальная дистанция детектирования | 0,5 км |
| --- | --- |
| Максимальная дистанция детектирования: для аэрозольного лидара для длинноволнового DIAL канала для коротковолнового DIAL (УФ) канала для ветрового лидара | до 20 км до 5 км до 3 км до 5 км |
| Детектируемые газовые примеси | углеводороды, фреоны, органофосфаты и др. SO2, NO2, O3, Cl2, NH3 и др. |
| Углы обзора: вертикальное направление горизонтальное направление | -15 до +90⁰ +/- 180⁰ |
| Минимальный шаг сканирования | 40 угловых секунд |
| Угловая скорость вращения сканера (макс.) | 20 градусов/сек. |
| Тип носителя | шасси с грузоподъемностью более 10 т |

Mobile lidar complex technical characteristics

| Minimum detection range | 0,5 km |
| --- | --- |
| Maximum detection range Aerosol lidar LW DIAL êàíàëà SW DIAL (UV) Wind lidar | up to 20 km up to 5 km up to 3 km up to 5 km |
| Detected gas admixtures | hydrocarbons, Freon gases, organophosphates (chemical weapon) etc. SO2, NO2, Î3, CH4, Cl2, NH3 etc. |
| Vision angles Vertical Horizontal | from -15⁰ to +90⁰ C +/- 180⁰ |
| Minimum scanning increment | 40 sec of arc |
| Scanning angular velocity (max) | 20 deg/sec |
| Carrier type | platform with load capacity over 10 t |