## Пакеты расширения RSC Tornado Expansion Pack

- Пакет расширения RSC Tornado HPC Expansion Pack, ориентированный на высокопроизводительные вычисления с использованием двух сопроцессоров Intel® Xeon Phi™ 7120X, позволяет повысить производительность вычислительного узла до 3,74 ТФЛОПС;

- Пакет расширения RSC Tornado VDI Expansion Pack предназначен для задач виртуализации и удаленного доступа к рабочим местам, а также областей CAD/CAM/CAE. Построен на основе карт AMD FirePro™ S10000 или NVIDIA GRID™ K1/K2 и высокопроизводительного твердотельного накопителя Intel® SSD DC P3700;

- Программно-аппаратный пакет расширения RSC SDM Expansion Pack позволяет реализовать концепцию RSC Software Defined Management, улучшая управляемость и увеличивая доступность вычислительных систем для пользовательских приложений;

Возможно создание и других специализированных пакетов расширения согласно конкретным запросам заказчиков.

| TECHNICAL SPECIFICATION |  |
| --- | --- |
| Architecture | RSC Tornado Cluster Architecture |
| Features | A complete solution in one cabinet - Direct liquid cooling system (“Warm water” mode support); - Communication system; - Data Storage; - Single Point of Monitoring and Management |
| Unique features | - Low-noise; - Energy effectiveness; - Absence of moving parts, such as fans and traditional hard disk drives (solid state drives are used instead); - Compact; - Flexible installation options: limited by space and mass requirements only – doesn’t require additional forced air cooling |
| Scalability | Not supported |

| COMPUTE CABINET (BASIC CONFIGURATION) |  |
| --- | --- |
| Compute Field Type | Homogeneous (Heterogenous with RSC HPC Expansion Pack) |
| Performance (RMax) | 60 TFLOPS |
| Compute resources | Up to 32 basic x86 architecture compute nodes (306 processors, 6732 cores, 13464 threads Intel® Xeon® E5-2699 v4) |
| Memory | 8 TB |
| System management | Fully integrated software stack for High Performance Computing “RSC BasIS”: - Single System Management Point, - Flexible Software Configuration System, - Supercomputer and Data Center view and management system |
| Operating Systems | Linux (RedHat, SUSE, Debian, CentOS, Scientific Linux), MS Windows |
| Job management | SLURM, Altair PSB Professional, Adaptive Computing Moab, IBM Platform LSF |
| Parallel File Systems | Lustre, Panasas, GPFS, FhGFS and others |
| Libraries, Compilers and Tools | Intel® Cluster Studio, PGI compilers, standard MPI libraries |
| Power consumption | Up to 35 kW |
| Cooling | “RSC Tornado” direct liquid cooling system: up to 50kW per Cabinet; Option: integration with existing customer’s cooling system |
| Formfactor | 24U |
| Dimensions | H 1.2m (40 in.) х W 0.8m (32 in.) х D 0.8m (32 in.) |
| Weight | Up to 430kg (1,874 lbs.) |
| Power | Up to 125A at 400/230V (three-phase, neutral and ground) |

| COMPUTE NODE (BASIC CONFIGURATION) |  |
| --- | --- |
| Processor | 16-core Intel® Xeon® E5-2697A v4 (2.6GHz, 32 threads, TDP 145W) or other Intel® Xeon® E5-2600 v4 family processors; 2 processors per node; Intel® Turbo Boost Technology is permanently enabled (+300MHz with all cores utilized) |
| System board | Intel® Server Board |
| Memory | DDR4-2133/2400, up to 256GB per node |
| Local storage | Solid State Drives; up to 2 SSDs per node |
| Communication I/O interfaces | Integrated I/O: FDR InfiniBand, 56Gbps; QDR InfiniBand, 40Gbps; 10 GigE; Optional enhancement (PCIe x16 gen3): Dual-Port InfiniBand EDR, Intel Omni-Path Fabric, Quad-Port 10/40 GigE, FibreChannel |
| Service I/O interfaces | 2x GigabitEthernet, IPMIv2 support |
| Cooling | Water cooled, coldplate, “Hot Water” mode support (up to 650C inlet water) |
| Power | Independent per node, 180-240V 50Hz |
| Formfactor | High Density Blade |
| Expansion | Supported, with RSC Expansion Pack |
| Hot Swap | Supported, with no influence to any other nodes |

RSC Tornado Expansion Packs