| Parameter, unit | Rate, not less | Норма, не более |
| --- | --- | --- |
| Power consumption, W | — | 33 |
| Power supply, V | 21 | 33 |
| Range of measured angular velocity, ° / s | минус 600 | 600 |
| Gyro zero drift on all axes, ° / h |  |  |
| without calibration | — | 1 |
| with calibration duration 5 min | — | 0,45 |
| with calibration duration 10 min | — | 0,25 |
| Scale factor (discrete) of the gyroscope, ang.s / imp | 3,2 | 3,4 |
| Instability and non-reproducibility of the scale factor of the gyroscope, relative units | — | 2*10-4 |
| Operating temperature range, ° С | -55 | +65 |
| Dimensions, mm |  |  |
| diameter | — | 180 |
| height | — | 140 |
| Weight, kg | — | 5,5 |
| Resource, h | 2400 | — |
| Assigned service life, years | 12 | — |