# Lenses

Material		Glass, optical crystals

Diameter 		from 5 to 200 mm

PV / rms		λ / λ / 8

Purity			40-20

Thickness 		±0,05 mm

Diameter 		-0,003 mm

# Aspherical lenses

Material		Glass, optical crystals

Diameter 		from 20 to 200 mm

PV / rms		λ / λ / 8

Purity			60-40

Thickness 		±0,05 mm

Diameter 		-0,003 mm

# Prisms

Material		Glass, optical crystals

Radius of

circumscribed circle	from 5 to 300 mm

Angles precision 	2"

Pyramid shape 	5"

PV			0,05 λ

Purity 			40-20

# Fairings

Material 		Glass, optical crystals

Polythickness 		0,05 mm

Purity 			60-40

# Metal optics

# Radius of

circumscribed circle	from 8 to 125 mm

Precision of

geometrical sizes 	0,05 mm

PV			0,05 λ

Purity 			40-20

# Windows, mirrors

# Radius of

circumscribed circle		from 5 to 300 mm

Accuracy of

geometrical sizes 		0,05 mm

Wedge 				5"

PV				0,05 λ

Purity				40-20

# Photomasks

# Maximum size of

operation field 		285 mm

Substrate thickness 		1-8 mm

Minimum size

of element 			1,0 μm

Error 				±0,2 μm

Angular error

of topology elements		± 1,0 seconds of arc

Recording material		Chromium

Substrate material		Glass, quartz

Purity 				10-5

# Code dials, grids, reticles

Maximum diameter		150 mm

Substrate thickness		1-8 mm

Minimum thickness

of mark			1,5±0,05 μm

Error				±1,5 seconds of arc

Masking coating		Chromium

Purity 				10-5

Material 			Glass, quartz

# Assembly

| Objective lenses |  |
| --- | --- |
| Focus | 9,4 mm (for wavelength 0,82 μm) |
| Relative aperture | 1:4,3 |
| Spectral range | 0,5-1,0 μm |
| Field of view | 50 degrees |
| Component objectives |  |
| Focal length | 217,01 mm, -52,37 mm, -139,03 mm, |
| Spectral range | 130,29 mm |
|  | 0,6-0,84 mm |