| Technical characteristics | LED illuminating kit |
| --- | --- |
| Power consumption of the kit, not more than, W | 40 |
| Light flux of one lamp, lm | 600 |
| Degree of protection, IP | 20 |
| Class of electrical shock protection | I |
| Supply voltage, W / frequency, Hz | 187-242 / 50 |
| Range of operation temperatures, °С | от +1 до +40 |
| Overall dimensions of one lamp, mm (LхWхH) | 187 х 175 х 85 |
| Mass of one lamp, not more than, kg | 1,0 |
| Mass of power source, kg | 0,4 |
| Recommended suspension height, m | 2-2,5 |

| Технические характеристики | Комплект осветительный светодиодный |
| --- | --- |
| Потребляемая мощность комплекта, не более, Вт | 40 |
| Световой поток одного светильника, Лм | 600 |
| Степень защиты, IP | 20 |
| Класс защиты от поражения электрическим током | I |
| Напряжение питания, Вт / частота, Гц | 187-242 / 50 |
| Диапазон рабочих температур, °С | от +1 до +40 |
| Габаритные размеры одного светильника, мм (ДхШхВ) | 187 х 175 х 85 |
| Масса одного светильника, не более, кг | 1,0 |
| Масса источника питания, не более, кг | 0,4 |
| Рекомендуемая высота подвеса, м | 2-2,5 |