| Технические характеристики Светильник уличный светодиодный CCУ-0,35/45 CCУ-0,7/90 CCУ-0,7/150 Потребляемая мощность, не более, Вт 38 95 190 Световой поток, Лм 3600 9000 18000 Коэффициент мощности (cos φ) ≥0,95 Степень защиты, IP 65 Класс защиты от поражения эл. током l Напряжение питания, Вт/ частота, Гц 187-242 / 50 Диапазон рабочих температур, °С от -40 до +40 Габаритные размеры, мм (ДхШхВ) 400х460х90 555х460х90 555х460х90 Масса, не более, кг 8,0 11,0 11,0 Высота подвеса, до, м 12 12 12 Выход на рабочий режим, менее сек. 1 1 1 Technical characteristics LED street lamp LSL-0,35/45 LSL-0,7/90 LSL-0,7/150 Power consumption, not more than, W 38 85 170 Light flux, lm 3600 9000 18000 Power factor (cos φ) ≥0,95 Degree of protection, IP 65 Class of electrical shock protection l Supply voltage, W / frequency, Hz 187-242 / 50 Range of operation temperatures, °С from -40 to +40 Overall dimensions, mm (LхWхH) 400х460х90 555х460х90 555х460х90 Mass, not more than, kg 8,0 11,0 11,0 Suspension height, up to, m 12 12 12 Time for operation beginning, less than, sec. 1 1 1 |  |
| --- | --- |