## Technical specifications

|  |  |  |
| --- | --- | --- |
|  | Category | Convection devices |
| 1 | Model | VL 10 | VL 20 | VL 40 |
| 2 | Productivity, m3 | 10 | 20 | 40 |
| 3 | Optimal floor space | 10-12 | 18-20 | 35-45 |
| 4 | The efficiency of inactivation of microorganisms | 99.5% without accumulation in the device | 99.5% without accumulation in the device | 99.5% without accumulation in the device |
| 5 | Overall dimensions, mm | 190×44×520 | 250×44×520 | 260×84×1860 |